## 1 Containers
Appendix A — WHO PQS Containers
Source: UNICEF Supply Division catalogue + WHO PQS E004. Columns F–H are YOURS to fill in — the formulas are not provided.
Container | Capacity (L) | Length (cm) | Width (cm) | Height (cm) | Volume (cm³) | Surface area (cm²) | SA : V | Cold life (h) | Loaded wt (kg) | Price (USD)
B Medical RCW4 | 3 | 36.2 | 28.3 | 29.9 |  |  |  | 30.3 | 7.3 | 344.79
B Medical RCW8 | 6 | 58.8 | 28.8 | 43.7 |  |  |  | 57.9 | 16.4 | 396.88
AOV ACB-264SL ← Order A | 6 | 62.4 | 50.2 | 42.6 |  |  |  | 132.3 | 25.4 | 102.21
B Medical RCW25 | 20 | 71 | 55 | 49.9 |  |  |  | 134.6 | 38.9 | 602.36
Blowkings CB-20-CF ← Order B | 20 | 79.5 | 56.2 | 56.5 |  |  |  | 138 | 49.5 | 128
Question: sort by SA:V. What happens to cold life? Why?

## 2 Circuit
Appendix C — The Outreach Circuit
Facility names and per-facility demand are scenario constructions. Route distance, duration, fuel and cost are from Kagoya et al. 2023.
Stop | Facility | Doses needed | Access | Cumulative hours from depot | Reachable by Order A? | Reachable by Order B? | Doses delivered | Cold life left at opening (h) | In spec?
1 | Kabira HC III | 2100 | 4x4 truck | 18
2 | Nsanja HC II | 1850 | 4x4 truck | 41
3 | Mubende HC III | 1600 | 4x4 truck | 67
4 | Kitovu HC II | 1450 | 4x4 truck | 96
5 | Bulera HC II | 1200 | motorcycle / footpath only | 118
6 | Nyamirama HC II | 800 | motorcycle / footpath only | 134
| TOTAL DEMAND | 9000

## 3 Orders
The Two Purchase Orders
Container budget: $420. Order A = 3 truck boxes + 1 motorcycle box (Appendix F, Assumption 0). Fill in every blank cell.
| Order A — Light Fleet | Order B — Heavy Pair
Container model | AOV ACB-264SL | Blowkings CB-20-CF
Number of boxes (Order A: 3 truck + 1 motorcycle) | 4 | 2
Unit price (USD) | 102.21 | 128
TOTAL COST (USD)
Within $420 budget?
Capacity per box (L) | 6 | 20
Total capacity (L)
Total capacity (cm³)
Doses (÷ 2.1 cm³/dose)
Rated cold life (h) | 132.3 | 138
Facilities reachable
Openings per box
Cold life after openings (h)
Doses delivered
Doses arriving OUT of spec
DOSES DELIVERED IN SPEC
Value of spoiled doses (USD)
Facilities receiving nothing

## 4 Constants
Constants & Modeling Assumptions
Rows shaded gold are ASSUMPTIONS, not measured data — see Appendix F. If you disagree, change them and show what happens.
Quantity | Value | Units | Type | Source
Packed volume per dose, measles | 2.1 | cm³/dose | DATA | WHO IVB-17.06
Litre to cubic centimetre | 1000 | cm³/L | DATA | WHO IVB-17.06
Vaccine storage range | +2 to +8 | °C | DATA | CDC Pink Book Ch.5
Target setpoint (midpoint) | 5 | °C | DATA | CDC Pink Book Ch.5
Excursion threshold | ¦T − 5¦ > 3 | °C | DERIVED | from CDC range
Measles dose price, low | 0.34 | USD/dose | DATA | UNICEF 05-Dec-2025
Measles dose price, high | 0.423 | USD/dose | DATA | UNICEF 05-Dec-2025
Container budget | 420 | USD | SCENARIO | case constraint
Max single-worker lift | 25 | kg | DATA | WHO PQS E004
Cold box design weight ceiling | 50 | kg | DATA | WHO PQS E004
Latent heat of fusion, water | 334 | kJ/kg | DATA | Engineering ToolBox
Thermal conductivity, PU foam | 0.03 | W/m·K | DATA | Engineering ToolBox
Thermal conductivity, VIP | 0.004 | W/m·K | DATA | IEA ECBCS Annex 39
Route distance, full circuit | 1200 | km | DATA | Kagoya et al. 2023
Days to complete circuit | 5 | days | DATA | Kagoya et al. 2023
ASSUMPTION 1 — cost per lid opening | 4 | hours | ASSUMPTION | not published; stated in Appendix F
ASSUMPTION 2 — warming model | linear +2→+10 °C | — | ASSUMPTION | not published; stated in Appendix F
Water content, 0.4 L pack | NOT PUBLISHED | L | MISSING | do not assume 0.4 — state what you use