## README
The Mainline Margin — Data Workbook
MS ¦ Math ¦ Case Study ¦ 2026-27 ¦ Heroes Academy
What this is | Raw appendix data from The Mainline Margin case study, laid out for you to compute over. Nothing here has been pre-solved -- D1 through D6 (building each option's total annualized-cost expression, substituting real values, simplifying, the certification check, the Hazen-Williams diameter rearrangement, and the break-even calculation) are your own work to do.
Case | cases/the-mainline-margin/case.md — see the case study docx for the full Overview, Background, Dilemma, and Challenges.
Sheet | Maps to
Appendix A — Bid Constraints & Field Layout | Appendix A: design flow rate, run length, acreage, labor rate, competing bid, annual hours. MA1-MA6.
Appendix B — Option A (Lean Main) Spec | Appendix B: diameter, weight/ft, material cost/ft, Hazen-Williams C. Sources: S3, S6, S7.
Appendix C — Option B (Margin Main) Spec | Appendix C: diameter, weight/ft, material cost/ft, Hazen-Williams C. Sources: S3, S6, S8.
Appendix D — NRCS Code 430 | Appendix D: velocity ceiling, friction-loss method and formula. Sources: S1, S2.
Appendix E — EQIP Cost-Share Terms | Appendix E: reimbursement basis, cost-share rate, per-pound rate, forfeiture condition. Sources: S4, S5.
Appendix F — Pump Energy Cost Figures | Appendix F: fuel type, energy-cost conversion factor, electricity price, BHP formula. Sources: S9, S10, S12, MA7.
Appendix G — Sources | Appendix G: full citation table for every figure used, S1-S12.
D1-D6 Work Area | A blank area for your own cost expressions, substitution table, simplified expressions, certification check, rearranged Hazen-Williams formula, and break-even calculation. This is the assignment -- it is intentionally empty.

## Appendix A — Bid Constraints
Quantity | Value
Mainline design flow rate required at the field inlet (GPM) | 440 [MA1]
Total mainline run length (ft) | 1,320 [MA2]
Acreage irrigated by this mainline (acres) | 88 [MA3]
Installation labor rate ($ per foot of pipe installed) | $25.00 [MA4]
Competing contractor's total quoted price, out-of-pocket, net of EQIP (USD) | $24,000 [MA6]
Annual hours the irrigation system operates (hr/yr) | 1,200 [MA5]

## Appendix B — Lean Main
Spec | Value
Nominal pipe diameter (in) | 6 [S6]
Weight per linear foot (lb/ft) | 2.40 [S6]
Material cost per linear foot (USD/ft) | $5.10 [S7]
Hazen-Williams roughness coefficient, C (PVC/plastic) | 150 [S3]

## Appendix C — Margin Main
Spec | Value
Nominal pipe diameter (in) | 8 [S6]
Weight per linear foot (lb/ft) | 4.16 [S6]
Material cost per linear foot (USD/ft) | $7.30 [S8]
Hazen-Williams roughness coefficient, C (PVC/plastic) | 150 [S3]

## Appendix D — Code 430
Design criterion | Value
Maximum allowable pipeline flow velocity at design capacity (ft/sec) | 5 [S1]
Friction-loss method required for certification | Hazen-Williams equation
Hazen-Williams equation form | h_f = 4.732 · (Q / C_HW)^1.85 · (L / D^4.87) [S2]

## Appendix E — EQIP Terms
Term | Value
Reimbursement basis | Per pound of pipe installed
Standard cost-share rate (% of eligible cost) | 75% [S4]
Reimbursement rate per pound of pipe installed (USD/lb) | $4.22 [S5]
Condition of payment | Reimbursement is forfeited in full if the installed design does not certify against NRCS Code 430

## Appendix F — Pump Energy
Quantity | Value
Pump power source (fuel type) for this job | Electricity (grid-powered pump) [MA7]
Energy-cost conversion factor | Electricity: 0.885 whp-hr/kWh. Diesel: 12.5 whp-hr/gal; Gasoline: 8.55 whp-hr/gal [S9]
Local price per unit of pump fuel or electricity (USD) | $0.0917 per kWh [S12]
Brake-horsepower sizing formula constants | BHP = (GPM × TDH) ÷ (3,960 × E); E = 0.75 typical [S10]

## Appendix G — Sources
# | Claim | Value | Source | Date | Confidence
S1 | NRCS Code 430 maximum plastic-pipe design velocity | 5 ft/sec | USDA NRCS, Conservation Practice Standard 430-CPS-2 (see case.json sources[] for URL) | 2024-11 | HIGH
S2 | Hazen-Williams friction-loss equation | h_f = 4.732(Q/C_HW)^1.85(L/D^4.87) | USDA NRCS, NEH Part 634 Ch.4 eq. 4-28 | 2022-02 | HIGH
S3 | Hazen-Williams roughness coefficient for PVC/PE/HDPE pipe | C = 150 | USDA NRCS, NEH Part 634 Ch.4 Fig. 4-8 | 2022-02 | HIGH
S4 | Standard EQIP cost-share payment rate | up to 75% | 7 CFR § 1466.23(b)(1)(i) | current | HIGH
S5 | EQIP Practice 430 reimbursement rate, PVC, standard rate | $4.22/lb | USDA NRCS Kansas FY2025 EQIP Payment Schedule | 2024-11 | HIGH
S6 | PIP weight per linear foot, 6in & 8in nominal | 6in: 2.40 lb/ft; 8in: 4.16 lb/ft | JM Eagle Irrigation P.I.P. catalog | undated | MEDIUM
S7 | 6in 125psi gasketed PVC pipe, price per foot | $5.10/ft | Direct Pivot Parts online catalog | current listing | MEDIUM
S8 | 8in 125psi gasketed PVC pipe, price per foot | $7.30/ft | Direct Pivot Parts online catalog | current listing | MEDIUM
S9 | Water-horsepower-hours per unit of pumping energy, by fuel | Electricity: 0.885 whp-hr/kWh | UGA CAES Field Report C965 (Nebraska Pumping Plant Performance Criteria) | reviewed 2012-06 | MEDIUM
S10 | Brake-horsepower pump-sizing formula & typical pump efficiency | BHP=(GPM×TDH)/(3960×E); E=0.75 | Texas A&M AgriLife Extension EB-6011 | 2021-03 | HIGH
S12 | U.S. average retail price of electricity, industrial sector | 9.17 cents/kWh | U.S. EIA, Electricity Monthly Update | 2026-06 | HIGH

## D1-D6 Work Area
Work Area — D1 through D6
This sheet is intentionally blank except for column headers. Pull your raw inputs from the Appendix A/B/C/D/E/F sheets -- do not retype values by hand where you can reference the cell.
D1 — Total-annualized-cost expression per option
Variable / constant / coefficient / term labeled | Distributive-property expansion shown
D2 — Substitution table
Design flow rate substituted | Run length substituted | Diameter / C substituted | Evaluated dollar figure
D3 — Simplified expression, like terms combined
Material-cost term | Energy-cost term | EQIP-reimbursement term | Simplified total
D4 — Certification check (one-step equation)
Max flow rate before ceiling, Lean Main | Max flow rate before ceiling, Margin Main | Pass/fail at actual design flow
D5 — Rearranged Hazen-Williams for diameter
Multi-step rearrangement shown | Stated energy-cost cap used | Minimum diameter found
D6 — Break-even & recommendation
Equation set equal (D3 expressions) | Break-even flow rate solved | Actual flow rate vs. break-even | Recommendation, defended with D4 and D6